## L3L2_Dashboard
Sl.No | Banner | Features | Test Result | Remarks
1 | Manufactured | Manufactured
2 | AiR ALERT | Commissioned - Factory-Fit
Commissioned - Retrofitted
Connected
3 | Health of compressors | Predicted with fault
Detected with fault
Healthy
4 | Service | OverDue
Due
Due Soon
5 | Ontime Service | On Time
Overdue < 200 Hours
Overdue > 200 Hours
6 | Fixed Speed Compressor Utilisation | 100-80% utilisation
80-60% utilisation
< 60% utilisation
| Variable Speed Compressor Utilisation | < 50% utilisation
> 50% utilisation
7 | Firmware Update | Pending
Updated
8 | Consumbles | Now
Next 30 Days
Next 60 Days
| Filters | Types
9 | Location | For L3
Country
Region
Area
For L2
Region
Area
Dealer
10 | Product | ALL
EG = EPSAC
AB = AB Series
OF = OFSAC
11 | Static Data | AiR ALERT Logo
ELGi Logo
Disclaimer
12 | Others | User Setting
Reports
Download option

## L1A_Dashboard
Sl.No | Banner | Features | Test Result | Reference
1 | Overview of Compressors | Connected
Updated
Pending
2 | Health of compressors | Predicted with fault
Detected with fault
3 | Service | OverDue
Due
Due Soon
4 | Utilisation% Of the compressor | utilisation% Graph
5 | Consumbles | Now
Next 30 Days
Next 60 Days
Sl.No | Filters | Types
6 | Plant | Customer Top Management = Plant Name
7 | Product | ALL
EG = EPSAC
AB = AB Series
OF = OFSAC
8 | Static Data | AiR ALERT Logo
ELGi Logo
Disclaimer
9 | Others | User Setting
Compressor Name - Setting
Reports
Download option

## L1B_Dashboard
Sl.No | Banner | Features | Test Result | Reference
1 | Overview of Compressors | Connected
Updated
Pending
Update Now
Update Now - Window Screen
2 | Health of compressors | Predicted with fault
Detected with fault
3 | Service | OverDue
Due
Due Soon
4 | Utilisation% Of the compressor | utilisation% Graph
5 | Consumbles | Now
Next 30 Days
Next 60 Days
6 | Discharge Parameters | Discharge Parameter Dashboard
| Filters | Types
7 | Plant | Maintainence Engineer - Plant Name fixed
8 | Product | ALL
EG = EPSAC
AB = AB Series
OF = OFSAC
9 | Static Data | AiR ALERT Logo
ELGi Logo
Disclaimer
10 | Others | User Setting
Compressor Name - Setting
Reports
Download option

## L3L2_Level2 screen
Sl.No | Banner | Search Bar | Top Filter | Specific Filter | Fields |  | Test Result | Remarks
L2
1 | AIR~ALERT In compressors | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1)Factory Fit, RetroFit | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
2 | HEALTH of compressor | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1) Healthy,Predicted,detected 2)Status | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
3 | SERVICE of the compressor | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1) overdue,due ,due soon 2)Status | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
4 | FIXED speed Comp.Utilisation | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1) 100-80% Utilisation, 80-60% Utilisation, <60% Utilisation | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
5 | VARIABLE speed Comp.Utilisation | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1)<50% Utilisation, >50% Utilisation | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
6 | ON TIME service of compressors | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1)ontime,overdue <200 hours,overdue >200 hours | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
7 | FIRMWARE status of Comp. | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1) Pending,updated | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
8 | CONSUMBLES units forecast | FABNO | 1)Country (Only for L3) 2)Region 3)Area 5)Dealer (Only for L2) 6)Machine Group - EG, AB & OF, ALL 7)Model Name - Based on kW, All 8)Warranty - IN/OUT | 1) Consumable Type: Pre-Filter,Air-Filter,Oil-Fiter,Oil-Sperator etc.., 2) Current,Next 30 days,Next 60 days | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
Note | 1) No. of Rows shall be available for each screen
2) 2 columns which can be dynamically choosen
3) Details to Step 3 can be given with a link to Fab number

## L1AL1B_Level2Screen
Sl.No | Banner | Search Bar | Top Filter | Specific Filter | Fields |  | Test Results | Remarks
1 | OVERVIEW of compressors (Connected & FirmwareUpdate) | FABNO | 1)Plant Name 2)Machine Group - EG, AB & OF, ALL 3)Model Name - Based on kW, All 4)Warranty - IN/OUT | 1)Factory Fit, RetroFit | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
|  | FABNO | 1)Plant Name 2)Machine Group - EG, AB & OF, ALL 3)Model Name - Based on kW, All 4)Warranty - IN/OUT | 1) Pending,updated | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields
2 | HEALTH of compressor | FABNO | 1)Plant Name 2)Machine Group - EG, AB & OF, ALL 3)Model Name - Based on kW, All 4)Warranty - IN/OUT | 1) Healthy,Predicted,detected 2)Status | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
3 | SERVICE of the compressor | FABNO | 1)Plant Name 2)Machine Group - EG, AB & OF, ALL 3)Model Name - Based on kW, All 4)Warranty - IN/OUT | 1) overdue,due ,due soon 2)Status | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
4 | CONSUMBLES units forecast | FABNO | 1)Plant Name 2)Machine Group - EG, AB & OF, ALL 3)Model Name - Based on kW, All 4)Warranty - IN/OUT | 1) Consumable Type: Pre-Filter,Air-Filter,Oil-Fiter,Oil-Sperator etc.., 2) Current,Next 30 days,Next 60 days | 1) Time&Date 2) Machine Name 3) Customer Name 4) Fab Number 5) Model Name 6) Status 7) Describtion 8)Dynamic selection of CRM/CCS Fields | FABNO
5 | UTILISATION % Of compressor | NA | NA | NA
Note | 1) No. of Rows shall be available for each screen
2) 2 columns which can be dynamically choosen
3) Details to Step 3 can be given with a link to Fab number

## Level3Screen
Machine Status
Machine Details
S.No | Label Name | Test Result | Remarks
1 | Machine Name
2 | Fab Number
3 | AirAlert Device ID
4 | Customer Name
5 | Model Number
6 | Location
7 | Time & Date
8 | Machine status
9 | Comm.status
10 | Cumm. HMR
11 | Utillisation Percentage
12 | Set_Pressure
13 | Load/unload count
14 | Sump_Pressure
15 | Calc.Power
16 | Discharge Oil Temperature
17 | Working Pressure
18 | Discharge Outlet Temperature
Trend Graphs
S.No | Label Name | Propertity Name |  |  | Test Result | Remarks
|  | EPSAC | AB | OFSAC
1 | Discharge Pressure | dis_pressure | dis_pressure | dis_pressure
2 | Sump pressure | sump_pressure | sump_pressure | NA
3 | Discharge oil Temperature | dis_temperature | dis_temperature | 2nd Outlet Temp
4 | Ambient Temperature | ambient_temperature | ambient_temperature | ambient_temperature
5 | VFD Speed% | vfd_speed_percentage | vfd_speed_percentage | vfd_speed_percentage
6 | DewPoint Temperature | dew_point_temperature | dew_point_temperature | NA
7 | Winding Temperature | motor_winding_temperature | motor_winding_temperature | NA
8 | Seal Pressure | NA | seal_pressure | NA
9 | Water injection Temperature | NA | water_injection_temperature | NA
10 | Oil Temperature | NA | oil_temperature | OIL Tr
11 | OIL PRESSURE | NA | NA | Oil Pr
12 | #1 OUTLET PRESSURE | NA | NA | Stage 1 Pressure
13 | #2 INLET PRESSURE | NA | NA | Stage 2 Inlet Pressure
14 | #2 INLET TEMPERATURE | NA | NA | 2nd Inlet Tr
15 | #2 OUTLET TEMPERATURE | NA | NA | 2nd Outlet Temp
17 | INLET WATER PRESSURE | NA | NA | Inlet_water_pressure
18 | #1 OUTLET TEMPERATURE | NA | NA | 1nd Outlet Temp
19 | R – PHASE WINDING TEMPERATURE (RTD) | NA | NA | TBD
20 | Y – PHASE WINDING TEMPERATURE (RTD) | NA | NA | TBD
21 | B – PHASE WINDING TEMPERATURE (RTD) | NA | NA | TBD
22 | DRIVE END BEARING TEMPERATURE (BTD) | NA | NA | TBD
23 | NON DRIVE END BEARING TEMPERATURE (BTD) | NA | NA | TBD
24 | DRIVE END 'X' VALUE (Vibration) | NA | NA | TBD
25 | DRIVE END 'Y' VALUE (Vibration) | NA | NA | TBD
26 | NONDRIVE END 'X' VALUE (Vibration) | NA | NA | TBD
27 | NONDRIVE END 'Y' VALUE (Vibration) | NA | NA | TBD
28 | Power | TBD | TBD | TBD
29 | Current | TBD | TBD | TBD
30 | Voltage | TBD | TBD | TBD
31 | Power factor | TBD | TBD | TBD
32 | Energy Consumed | TBD | TBD | TBD
Maintenence Parts Due in Hours | [6 empty] | Test Result | Remarks
Sl.No | Consumbles | EPSAC |  | AB |  | OFSAC
|  | N3 | N4 | N3 | N4 | N4
1 | Air Filter | Rem.AFCT | Rem.AFCT | Rem.AFCT | Rem.AFCT | Rem.AFCT
|  | Set AFCT | Set AFCT | Set AFCT | Set AFCT | Set AFCT
2 | Oil Filter | Rem.OFCT | Rem.OFCT | Rem.OFCT | Rem.OFCT | Rem.OFCT
|  | Set OFCT | Set OFCT | Set OFCT | Set OFCT | Set OFCT
3 | Air oil separator | Rem.OSCT | Rem.OSCT | Rem.OSCT | Rem.OSCT
|  | Set OSCT | Set OSCT | Set OSCT | Set OSCT
4 | Oil | Rem.OCT | Rem.OCT | Rem.OCT | Rem.OCT | Rem.OCT
|  | Set OCT | Set OCT | Set OCT | Set OCT | Set OCT
5 | Motor Re-Regrease | RemRGT | RemRGT | RemRGT | RemRGT | RemRGT
|  | Set RGT | Set RGT | Set RGT | Set RGT | Set RGT
6 | valve kits | Rem Valve kit |  | Rem Valve kit
|  | Set Valve kit |  | Set Valve kit
7 | MPV Kit |  | Rem.MPV |  | Rem.MPV | Rem.MPV
|  |  | Set MPV |  | Set MPV | Set MPV
8 | BDV Kit |  | Rem.BDV |  | Rem.BDV
|  |  | Set BDV |  | Set BDV
9 | ADV Kit |  | Rem.ADV |  | Rem.ADV | Rem.ADV
|  |  | Set ADV |  | Set ADV | Set ADV
10 | SPM |  | Rem.SPM |  | Rem.SPM
|  |  | Set SPM |  | Set SPM
11 | PF_FF |  | Rem PF_FF |  | Rem PF_FF
|  |  | Set PF_FF |  | Set PF_FF
12 | CF |  | Rem CF |  | Rem CF
|  |  | Set CF |  | Set CF
13 | OST |  | Rem OST |  | Rem OST
|  |  | Set OST |  | Set OST
14 | Pre_Filter |  | Rem Pre_Filter |  | Rem Pre_Filter
|  |  | Set Pre_Filter |  | Set Pre_Filter
15 | SDVK |  | Rem SDVK |  | Rem SDVK
|  |  | Set SDVK |  | Set SDVK
16 | CCK |  |  |  |  | Rem CCK
Set CCK
17 | GCB |  |  |  |  | Rem GCB
Set GCB
18 | OPC |  |  |  |  | Rem OPC
Set POC
19 | GOR |  |  |  |  | Rem GOR
Set GOR
20 | RC |  |  |  |  | Rem RC
Set RC
21 | BOS |  |  |  |  | Rem BOS
Set BOS
22 | CV |  |  |  |  | Rem CV
Set CV

## Sheet1
FabNo | CRMorCCS | IsRetrofitted | LastCommunicated | isconneced
325 | CRM | FALSE | 2020-10-08 20:05 | FALSE | Manufactured | 9
461 | CCS | FALSE | 2020-10-08 20:04 | FALSE | Commissioned | 4
56 | CCS | FALSE | 2020-10-01 17:19 | FALSE | Factory-fit | 3
52 |  | FALSE |  |  | Retrofit | 1
518 |  | FALSE
505 |  | FALSE
421 |  | FALSE |  |  | Connected | 1
510 | CCS | TRUE | 2020-10-08 15:42 | TRUE
IW358 |  | FALSE
TL740 |  | FALSE